## Slide 1
Nucleic Acids Research Group 2012-2013 Study
Evaluating DNA Extraction Methods for Metagenomic Analysis
V. Nadella1, J. Holbrook2, R. Carmical3, M. Robinson4, C. Rosato5, H. Auer6, N. Beckloff7, Z. Herbert8, S. Chittur9, A. Perera10 , W. Trimble11, S. Tighe12
1Ohio University, 2Nemours/A.I. DuPont Hospital for Children, 3University of Texas Medical Branch, 4 University of Zurich, Switzerland, 5Oregon State University,
6Institute for Research in Biomedicine, Barcellona, Spain, 7Case Western Reserve University, 8Dana Farber Cancer Institute, 9University at Albany-SUNY,
10 Stowers Institute for Medical Research, 11Argonne National Laboratory, 12University of Vermont.
ABSTRACT
MATERIALS AND METHODS
RESULTS
Discussion
ACKNOWLEDGEMENTS
Bacteria were grown the stationary phase (2 weeks) on TSA solid. One loop full (2mm) of cell mass was suspended in nuclease free PBS with 30% Ethanol for 72 hours (to fix) followed by a wash step by centrifuging and washing in PBS and resuspended in 0.02% sodium azide/ PBS to 5 mL. Samples were diluted 1:100 and enumerated microscopically (Figure 1). Final cocktail was 0.25 OD at 600 nM as per NanoDrop at 1mm and enumerated at 1.08E+08 cells/80 uL of sample. A metagenomics master mix containing all bacteria were prepared by combining each bacteria as per the table below (Table 1). Shipping tubes were prepared by distributing 80 uL of the master mix. The tubes were quickly mixed, pelleted, and frozen. The total number of cells was determined as 9.0 x107 cells per tube. Seven DNA extraction methods were employed by members of NARG to extract DNA from the bacteria cocktail. These included the Omega Biotek kit, the MoBio Kit, Enzymes + hot phenol + Fast prep, Enzymes+ CTAB+ Fast prep, Qiagen Gentra Pure Yeast and Bacterial kit, Epicenter Soil Master DNA extraction kit, Modified MolBio Kit method and Sigma RED extract kit. Illumina Nexterra XT standard protocol was used to build libraries with barcodes. 0.79 to 1.44 ng of extracted DNA from each method was used as input material. The libraries were then pooled and run on two lanes of Illumina Hiseq.
Synthetic Metagenomic Sample Components and Preparation
Table 1: Components of the Synthetic Metagenomic Sample
It is well recognized that the field of metagenomics is becoming a critical tool for studying previously unobtainable population dynamics at both an identification of species level and a functional or transcriptional level. Because the power to resolve microbial information is so important for identifying the components in a mixed sample, metagenomics can be used to study nearly any possible environment or system including clinical, environmental, and industrial, to name a few. Clinically, it may be used to determine sub-populations colonizing regions of the body or determining a rare infection to assist in treatment strategies. Environmentally it may be used to identify microbial populations within a soil, water or air sample, or within a bioreactor to characterize a population- based functional process. The possibilities are endless.
However, the accuracy of a metagenomics dataset relies on three important "gatekeepers" including 1) The ability to effectively extract all DNA or RNA from every cell within a sample, 2) The reliability of the methods used for deep or high-throughput sequencing, and 3) The software used to analyze the data.
Since DNA extraction is the first step in the technical process of metagenomics, the Nucleic Acid Research Group (NARG) conducted a study to evaluate extraction methods using a synthetic microbial sample. The synthetic microbial sample was prepared from 11 known bacteria at specific concentrations and ranging in diversity. Samples were extracted in duplicate using various popular kit based methods as well as several homebrew protocols then analyzed by NextGen sequencing on an Illumina HiSeq.
The field of Metagenomics has been an important contributor to the knowledge base for population geneticists studying natural and environmental systems. Discerning which organisms are present in a sample of water or soil has revealed challenges in sample prep and in data analysis. Metagenomic research has expanded into the clinic where sub populations in microenvironments within the body are being investigated.
Metagenomic research is increasing in the published literature. With DNA extraction as the first step toward discovering the presence of microorganism. However not all extraction techniques are created equal for the lysis of bacteria. It is well known that Gram negative bacterial cell walls are much easier to lyse then that of Gram positives because the latter have a thicker and more durable wall (Figure 6).
This Nucleic Acid Research Group (NARG) study was designed to evaluate extraction methods using a synthetic mixed sample of known bacteria at know cell numbers. Goals for the study included identifying which organisms are detected from each of the extraction protocols and determining DNA extraction efficiency. Additionally, because the technology for running high throughput sequences continues to evolve, the assay was developed to utilize the most recent instrumentation (MiSeq, HiSeq 2500).
Chart: Total DNA Yield From Duplicate Samples
| Mo Bio PowerSoil | Prepman Phenol Mod | Omega Phenol Mod | Prepman-Qiagen | Qiagen Yeast and Bacteria | Epicenter Soil Master | CTAB/Qiagen AllPrep | Mo Bio PowerSoil | Sigma Extract-N-Amp Tissue
Extraction 1 (ng) | 45 | 21.7 | 8.8 | 17.8 | 29.6 | 7.8 | 195 | 184 | 181.6
Extraction 2 (ng) | 46.3 | 24.5 | 61 | 12 | 39.4 | 327 | 151 | 264
Chart: Bacillus cereus (GC 35%, Gram +)
| MB Power-B | Qiagen Y&B | Sigma Red extract | Modified CTAB | Omega Phenol | Epicenter soil master | Prepman Phenol | MB Power-A | Prepman Qiagen
Bacillus cereus | 817656 | 714614 | 100557 | 463275 | 824783 | 784860 | 164994 | 794778 | 430176
Chart: Bacillus megaterium (GC 38%, Gram +)
| MB Power-B | Qiagen Y&B | Sigma Red extract | Modified CTAB | Omega Phenol | Epicenter soil master | Prepman Phenol | MB Power-A | Prepman Qiagen
Bacillus megaterium | 576431 | 540530 | 85463 | 635028 | 1581778 | 945190 | 314685 | 773045 | 970770
Chart: Enterococcus faecalis (GC 38%, Gram +)
| MB Power-B | Qiagen Y&B | Sigma Red extract | Modified CTAB | Omega Phenol | Epicenter soil master | Prepman Phenol | MB Power-A | Prepman Qiagen
Enterococcus faecalis | 442169 | 337328 | 35765 | 189889 | 297545 | 380309 | 53230 | 362701 | 167628
Chart: Micrococcus luteus (GC 72%, Gram +)
| MB Power-B | Qiagen Y&B | Sigma Red extract | Modified CTAB | Omega Phenol | Epicenter soil master | Prepman Phenol | MB Power-A | Prepman Qiagen
Micrococcus luteus | 93842 | 122306 | 262809 | 498100 | 1161032 | 229148 | 123739 | 242708 | 368698
Chart: Streptomyces griseus (GC 72%, Gram +)
| MB Power-B | Qiagen Y&B | Sigma Red extract | Modified CTAB | Omega Phenol | Epicenter soil master | Prepman Phenol | MB Power-A | Prepman Qiagen
Streptomyces griseus | 593934 | 67549 | 2401664 | 432108 | 529838 | 652425 | 123385 | 1331673 | 123850
Chart: Pseudomonas aeruginosa (GC 67%, Gram -)
| MB Power-B | Qiagen Y&B | Sigma Red extract | Modified CTAB | Omega Phenol | Epicenter soil master | Prepman Phenol | MB Power-A | Prepman Qiagen
Pseudomonas aeruginosa | 1354469 | 69999 | 571476 | 1209366 | 689198 | 983952 | 122481 | 2087101 | 172917
Chart: Rhodospirilium rubrum (GC 64%, Gram -)
| MB Power-B | Qiagen Y&B | Sigma Red extract | Modified CTAB | Omega Phenol | Epicenter soil master | Prepman Phenol | MB Power-A | Prepman Qiagen
Rhodospirilium rubrum | 1296718 | 1234844 | 5389873 | 658242 | 979724 | 1405904 | 100495 | 1973990 | 234294
Chart: Stapylococcus epidermidis (GC 32%, Gram +)
| MB Power-B | Qiagen Y&B | Sigma Red extract | Modified CTAB | Omega Phenol | Epicenter soil master | Prepman Phenol | MB Power-A | Prepman Qiagen
Stapylococcus epidermidis | 3635141 | 1539112 | 604332 | 1506291 | 1781261 | 2227408 | 635768 | 3605306 | 1041484
Chart: Enterobacter aerogenes (GC 53%, Gram -)
| MB Power-B | Qiagen Y&B | Sigma Red extract | Modified CTAB | Omega Phenol | Epicenter soil master | Prepman Phenol | MB Power-A | Prepman Qiagen
Enterobacter aerogenes | 3363886 | 8402086 | 3906183 | 1655476 | 2025578 | 3530515 | 288216 | 5359670 | 382062
Gram Negative Gram Positive
Figure 2: (A-J) Bacterial cultures were diluted 1:100 and enumerated microscopically using Sybr Green/Acridine orange with the C-chip micro hemocytometer at 650 X . (K) Final cocktail was 0.25 OD at 600 nM as per NanoDrop at 1mm and enumerated at 1.08E+08 cells/80 uL of sample. (L) Staining of bacterial cells and DNA after multi enzyme digestion.
Bacillus cereus Enterococcus faecalis Klebsiella terrigena
Bacillus megaterium Micrococcus luteus Pseudomonas aeruginosa
Rhodospirillum rubra Sporosarcina ureae Streptomyces griseus
Staphylococcus epidermidis
After Multi-enzyme digestion
A
B
D
C
E
F
I
H
G
J
K
L
Bacterial Cocktail
Conclusions
We gratefully acknowledge the following companies for their generous support
Illumina
Zymo
Omega Biotech
Qiagen
Epicenter Biotechnologies
Life Technologies
Mo Bio
Sigma
We thank Rachel Yoho (Ohio University Genomics Facility), Marcy Kuentzel (UAlbany Center for Functional Genomics), Lydia Zeglin (Oregon State University) and Mehmet Balkan (Portland State University) for their help with the DNA extractions. We thank Amy Janiak (Dana-Farber Cancer Institute) for her help with Nextera XT library preps, Kendra Walton (Stowers institute) for her help with Hiseq sequencing, Jim Vallandingham (Stowers institute) for primary analysis of the sequencing data, Folker Meyer (Argonne National labs) for Bioinformatic support and Aimee Keithly (Illumina) for providing the Illumina sequence kits.
Not all extraction techniques are created equal for bacteria
Column based extraction may contribute to reduced recovery do to DNA fragment size and column inconsistency
The use of PEG 6000 in a precipitation step may be advantageous to increased recovery
Multi-enzyme digestion seem to facilitate a “broader” range of bacteria that gets extracted but does not help total recovery in this study
Figure 3: Total DNA yield from different extraction methods. Theoretical estimation of DNA yield from 1.1E+8 cells per sample is around 430ng. Each extraction method was performed in duplicates except for the Prepman-Qiagen method. Note the quantitation data for the Sigma Extract-N-Amp Tissue kit is not vaild due to the chemical composition of the kit.
Figure 4: Number of reads obtained from Illumina Hiseq for different organisms from various extraction procedures. The X-axis represents the various DNA extraction methods and the Y-Axis the number of usable reads obtained from duplicate DNA extraction for each method. Each panel has information on the bacterial strain, GC content and Gram staining. Genome Alignments were done using Bowtie V3—best-M1. The genome sequence for Klebsiella terrigena and Sporosarcinia ureae is not available to do the comparable analysis.
Figure 5: Sequence coverage of different bacterial strains from different DNA extraction procedures. X-axis represents the various DNA extraction procedures and Y-axis has the percentage of sequence corresponding to different bacterial strains.
Figure 1: Percentage distribution of different bacterial strains in the cocktail of sample that was shipped to various labs for DNA extraction.
Figure 6: Cell wall compositions of Gram positive and Gram negative bacteria.