## Expected_Ratio
Substance | MF | MW | target conc A (uM) | target conc B (uM) | endogenous conc (µM) | expected ratio A/B
sarcosine | C3H7NO2 | 89.1 | 10 | 20 | probably negligible | 0.5
betaine | C5H11NO2 | 117.15 | 50 | 100 | 33-88 | [0.62,0.73]
taurine | C2H7NO3S | 125.15 | 50 | 100 | 55-162 | [0.68,0.81]
nicotinic acid (niacin) | C6H5NO2 | 123.11 | 50 | 100 | 49-53 | [0.66,0.67]
creatine | C4H9N3O2 | 131.14 | 50 | 100 | 30-55 | [0.62,0.68]
suberic acid | C8H14O4 | 174.2 | 5 | 10 | 3.6 | 0.63
quinolinic acid | C7H5NO4 | 167.12 | 3 | 6 | 0.47 | 0.54
acetaminophen | C8H9NO2 | 151.0633 | 5 | 20 | dose dependent | 0.25
acetylcarnitine | C9H17NO4 | 203.1158 | 16 | 8 | 6 | 1.57
caffeine | C8H10N4O2 | 194.0804 | 8.504 | 48.504 | dose dependent 2-10mg/L | 0.18
creatinine | C4H7N3O | 113.0589 | 69.9752 | 9.9752 | 70 | 1.75
DL-indole-3-lactic acid | C11H11NO3 | 205.0739 | 4.2 | 1.2 | 2.8 | 1.75
L-arginine | C6H14N4O2 | 174.1117 | 3.7 | 48.7 | 80 | 0.65
L-isoleucine | C6H13NO2 | 131.0946 | 54.5 | 4.5 | 60-80 | [1.59,1.78]
urea | CH4N2O | 60.06 | 4000 | 8000 |  | 0.5
indoxyl sulfate | C8H7NO4S | 213.01 | 2 | 18 |  | 0.11
xanthosine | C10H12N4O6 | 284.0757 | 7 | 2 | 5 | 1.71
Urea and Indoxyl sulfate were not detected by any of the participating laboratories.

## Group_MemberResult
| MRG Member 1 | MRG Member 2 | MRG Member 3
Platform | QTOF | Triple Quadrupole | QTOF1 | QTOF2 | Orbitrap
Substance | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B
sarcosine | 1.0837 | 0.9653 | 1.3833 | 1.397 | 0.99726
betaine | 3.5341 | 0.80603 | 2.9217 | 1.8434 | 0.59392
taurine | 0.83654 | 0.28453 |  | 0.35146 | 3.9883
nicotinate | 5.1125 | 0.28469 | 5.5225 | 9.3755 | 4.0791
creatine | 0.78775 | 0.49973 | 1.5363 | 2.0696 | 0.87123
suberic acid | 0.17226 | 1.1859 |  | 0.18972 | 0.52716
quinolinic acid | 0.36934 | 0.90344 |  |  | 0.37525
acetominophen | 8.7764 | 8.0578 | 8.684 | 8.0924
acetylcarnitine DL | 0.72072 | 0.4285 | 0.61999 | 0.48226
caffeine | 0.78012 | 0.14744 | 0.29432 | 0.19645 | 1.6933
creatinine | 1.6137 | 1.7838 | 1.5486 | 1.6501 | 0.90176
DL-indole-3-lactic acid | 0.41541 | 0.51322 |  | 0.20292 | 1.1157
arginine | 0.17226 | 2.0964 | 1.7056 | 1.9872 | 1.2594
leucine-isoleucine | 0.86087 | 0.58697 | 0.75154 | 0.49208 | 0.46563
xanthosine | 0.15886 | 0.59668 |  | 0.11592 | 0.61247

## Participants_Result
MRG_ID | MRG014 | MRG064 | MRG057 |  |  | MRG051 | MRG057 | MRG_L | MRG_C | MRG_C | MRG_X | MRG_B | MRG_M | MRG060 | MRG063 | MRG_W |  | MRG063
Method | Untargeted | Untargeted | Targeted | Untargeted | Untargeted | Targeted | Untargeted | Untargeted | Untargeted |  | Untargeted | Targeted | Targeted | Untargeted | Untargeted | Targeted | Untargeted | Targeted
Platform | LC-MS | HPLC-MS | Amine-MS | GC-MS | LC-MS | NMR | MS | GC-MS | GC-MS | LC-MS | UPLC-QTOF | LC-MS | TQ | HPLC-MS | NMR | TQ | NMR | NMR
Substance | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B | Ratio A/B
sarcosine | [11 empty] | 4.27 | 4.4662 |  |  |  | >1, but high q-value | >1
betaine |  |  |  |  | 2.82 | 5 | [8 empty] | >1 | >1 | >1 | >1
taurine |  |  | 0.3 | [8 empty] | 0.3 |  |  | <1 | <1 | <1 | <1
nicotinate |  | 1.06 | [6 empty] | 3.37 | [6 empty] | >1
creatine | [5 empty] | 1.89 | [8 empty] | >1 | >1 | >1 | >1
suberic acid |  |  |  | 0.33 |  |  |  | 0.333 | 0.27 |  |  |  |  | <1 |  | <1
quinolinic acid
acetominophen | [9 empty] | 8.5 | 10.5 |  |  | >1 |  | >1 | >1
acetylcarnitine DL |  |  | 0.47 | [8 empty] | 0.56 | 0.82893
caffeine |  |  |  | 0.15 | 0.2 |  |  |  |  | 0.193 | 0.162 |  |  |  |  | <1 | <1, but high q-value
creatinine |  |  |  | 2.54 |  | 1.57 | 2.26 | 2.1 |  | 1.76 |  | 1.76 |  |  | >1 | >1 | >1 | >1
DL-indole-3-lactic acid | 0.196 |  |  | 0.37 |  |  | 0.96 |  | 0.21
arginine |  |  | 1.85 | [8 empty] | 1.8 |  |  |  | >1 | >1 | >1
leucine-isoleucine |  |  | 0.52 |  |  | 0.58 | 0.43 | 0.498 | 0.53 |  |  | 0.55 | 0.41011 |  | <1 | <1 | <1 | <1
xanthosine